Technical questions about steam demand

To can make a cotation, please answer on following questions

And send by E-mail to Mr.Peter Vidos, gen.man. of BLOCK Bt.-(H)-9200 Mosonmagyarovar, Ady E.-út 1/a

E-mail :claykonz@t-online.hu   or  vidospeter@t-online.hu  -  mobil: 0036 30 9578931, Skype : vidospeter

Buyer’s company name, adresse, phone and E-mail, and contact personne name :

Short description of the technologie for what the steam is necessary   :

STEAM  GENERATOR

Informations about steam :

Required operation pressure  :            bar

Required temperature            :            oC     ( only when superheated steam is necessary )

Steam  quantity  used   min. :              kg/h

max. :              kg/h

Is the steam used only for the technologie or for building  heating in winter time too ?

If yes, which quantity is necessary in winter?    Min. :         kg/h          Max. :         kg/h

Working hours / day   :

Working  days / week :

Working  days / year   :

Return condensate               :          %

Return condensate pressure :          bar

Remark :  If the back coming condensate pressure is lower then 1 bar the installation will be an open

System. If the condensate pressure is higher then 1 bar the installation will be a semi-closed system.

Fuel used for combustion ?              Lower caloric value? ( fill the corresponding line please)

Natural gas                                                                        kJ/Nm3

Butane gas                                                                         kJ/Nm3

Propane gas                                                                       kJ/Nm3

Biogas                                                                               kJ/Nm3

Fuel oil                                                                              kJ/kg

Heavy oil                                                                           kJ/kg      (max. S content = ?     % )

Important !  We can deliver steam generators with mixed burners too. Like: natural gas/butane,

natural gas/ propane,   natural gas biogas,   natural gas /fuel oil,   natural gas /heavy oil,

fuel oil/heavy oil

OPTIONAL AUTOMATISATION OF THE STEAM GENERATOR

Desired unattended boiler room for operation during :    24h     or     72h    or 1 week  ?

OPTIONAL GAS EQUIPMENT

Clayton can deliver the following optional equpment too :

Yes               No

Gas shut-off valve        :

Filter                             :

Pressure gauge set        :

Gas pressure regulator  :

Gas flow meter             :

OPTIONAL FEEDWATER EQUIPMENT IF REQUIRED

Yes               No

Hotwell tank                                        :

Booster pumps                                     :

Water softener  ( cotation if required ):

Chemicak dosing pump                       :

Chemical dosing tank                          :

Chemical dosing low lewel alarm       :

Blow down tank                                  :

Blow down tank cooling                     :

OPTIONAL STEAM and FEEDWATER EQUIPMENT

Yes               No

Coductivity control alarm :

Hardness control               :

Sample cooler                   :

Feed water test kit            :

STEAM COMPOUND PRODUCTS

Yes             No

Compound A4 ( feedwater pH and oxygen control )           :

Claytafilm   ( piping internal protection against corrosion) :

OTHERS

Yes                   No

Water treatment Skid  (OPTIONAL)   :                                              We can deliver, factory mounted, on a

common skid, steamgenerators (max. 2 gen. of 3 t/h capacity) hotwell, feedwater pumps, booster pumps, water softener,

blow down tank and common electronical control box. All this parts are factory piped,  wired and tested in our factory.

The unit is operationel on site after raccording row water, gas or oil, steam, condensate, blow down pipes, and electricity.

Spare parts                                            :

Comissioning                                        :  necessary for the start up and warranty

Clayton can deliver steam installation ( max. 2x 6,2= 12,5 t/h) mounted in 20’ or 40’ standard or special sized container, ready to operate. On special request we can deliver biger installations too with self electric  power generator if necessary.